## Cooling Equipment
Tag | Equipment | Rated Cooling Capacity (kW) | Design Temp (C) | Operating Temp (C) | Design Pressure (bar) | Operating Pressure (bar) | Redundancy Role
CH-01 | Water-Cooled Chiller | 1200 | 45 | 38 | 10 | 6.5 | Duty
CH-02 | Water-Cooled Chiller | 1200 | 45 | 38 | 6 | 6.5 | Duty
CRAH-01 | Computer Room Air Handler | 250 | 40 | 32 | 4 | 2.5 | Duty
CRAH-02 | Computer Room Air Handler | 250 | 40 | 32 | 4 | 2.5 | Duty
CRAH-03 | Computer Room Air Handler |  | 40 | 32 | 4 | 2.5 | Standby
CRAH-04 | Computer Room Air Handler | 250 | 40 | 32 | 4 | 2.5 | Standby