## Equipment List
Tag | Description | Category | Area | Quantity | Unit Load (kW) | Total Load (kW) | Remarks
RACK-A01 | GPU Rack Block A1 | IT | Hall A | 10 | 30 | 300 | NVIDIA HGX
RACK-A02 | GPU Rack Block A2 | IT | Hall A | 10 | 30 | 300
RACK-A03 | GPU Rack Block A3 | IT | Hall A | 10 | 30 | 300
RACK-A04 | GPU Rack Block A4 | IT | Hall A | 10 | 30 | 300
RACK-B01 | GPU Rack Block B1 | IT | Hall B | 10 | 30 | 300
RACK-B02 | GPU Rack Block B2 | IT | Hall B | 10 | 30 | 300
RACK-B02 | GPU Rack Block B3 | IT | Hall B | 10 | 30 | 300 | duplicate tag (seeded)
RACK-B04 | Storage Rack Block B4 | IT | Hall B | 10 |  | 300 | unit load missing (seeded)
CH-01 | Water-Cooled Chiller | Mechanical | Plant Room | 1
CH-02 | Water-Cooled Chiller | Mechanical | Plant Room | 1
CH-03 | Water-Cooled Chiller (future) | Mechanical | Plant Room | 1 |  |  | no data sheet (seeded)
CRAH-01 | Computer Room Air Handler | Mechanical | Hall A | 1
CRAH-02 | Computer Room Air Handler | Mechanical | Hall A | 1
CRAH-03 | Computer Room Air Handler | Mechanical | Hall B | 1
CRAH-04 | Computer Room Air Handler | Mechanical | Hall B | 1